Main Board 71 x 71 mm  56219-06802-001 REV D

| U1 | 78M12HC | Voltage regulator +12 |  |  |
| --- | --- | --- | --- | --- |
| U2 | LM732H | Voltage/curent regulator heater | NS |  |
| U101 | LH0033CG | Buffer amp | NS |  |
| U201 | LH0033CG | Buffer amp | NS |  |
| Q1 | MJE25(1) | Pass transistor for U2 | Mot | Attached to case for heat sink |
| Q3 | 2N2857 |  | Mot |  |
| Q4 | 2N2857 |  | Mot |  |
| Q5 | 2N2857 |  | Mot |  |
| Q6 | 2N4416 |  | NS |  |
| Q7 | 2N4416 |  | NS |  |
| T1 | MCL TMO-4-1 |  |  |  |
| T101 | MCL 9124 05 TMO-1-1 | Output RF #1 |  |  |
| T201 | MCL 9124 05 TMO-1-1 | Output RF #2 |  |  |

Note not sure of part number inside ( )

Oven external board diameter 46 mm  56219 03964

| Q1 | MTH15N20 | heater | Mot | Attached outside oven wall |
| --- | --- | --- | --- | --- |
| Q2 | MTH15N20 | heater | Mot | Attached outside oven wall |
| RT1 | 25.5K@20C |  |  |  |
| R1 | 1001K |  |  | Values measured in circuit |
| R2 | 764K<>791K |  |  | Polarity of measurement changes value |
| R3 | 1.8 ohm |  |  |  |
| R4 | 1.8 ohm |  |  |  |
| R6 | 9.24K |  |  |  |
| R7 | 16.75K |  |  |  |

Oven internal board #1 25 x 69 mm  56219-05824 REV A

| U1 | LM158J | Dual op amp | Mot |  |
| --- | --- | --- | --- | --- |
| U2 | ICL7611BMTV | Long time constant Integrator CMOS op amp | H |  |
| C1 | D 129H 1002 FSCJ |  | Dale ??? | This appears to be a resistor (like all other resistors on this board) it is isolated from other components mounted in the center of a rectangular hole in the PC board, suspect it is a temp sensor. |
| C2 | ECR 103DF 91/32 | 1uf ? |  |  |
| C3 | ECR 103DF 91/32 | 1uf ? |  |  |
| C4 | ECR 102CJ 88/18 |  |  |  |
| R1 | D 140H 1003 FSCJ |  |  |  |
| R2 | D 1002 FSCJ |  |  |  |
| R3 | D 130H 1002 FSCJ |  |  |  |
| R4 | D 130H 1002 FSCJ |  |  |  |
| R5 | D 140H 1003 FSCJ |  |  |  |
| R6 | D 130H 1002 FSCJ |  |  |  |
| R7 | D 130H 1002 FSCJ |  |  |  |
| R8 | D 121H 2321 FSCJ |  |  |  |
| R9 | D 114J |  |  |  |
| R10 | D 123H 1002 FSCJ |  |  |  |
| R11 | D 123 H 1002 FSCJ |  |  |  |
| R12 | 4020 |  |  |  |
| CR1 | 41 |  |  | glass |
| CR2 |  |  |  | Dark Epoxy ball 1.5 mm diameter |

Oven internal board #2 25 x 69 mm  56219-05180 REV C 0692

|  | PIEZO 9204 135 5.00000MHZ 03666-701 86.7C |  |  | 17 mm diameter 11 mm tall 5 pins metal can |
| --- | --- | --- | --- | --- |
|  | 2N2484 |  |  |  |
|  | 2N2484 |  |  |  |
|  | 2N2484 |  |  |  |
|  | 2N2484 |  |  |  |